## Sheet1
S No | PARTCULAR MATERIALS | each | Qunt | Rate
0.1 | L.T. CAELES:
Supply , laying and testing of
240 Sq mm,, armoured
Aluminium cable shall be laid
In existing GI pipe/trench,
Rate shall included excavation,
k protection , send bed,
Refilling compacting of each
| Etc.. | rmt | 1 | 750
0.2 | CAFUR END TERMINATION
End termination of 4c*16 sqmm
PVC including supply of
Glander solderles crimping type
| Copper lugs etc… completed. | EACH | 1 | 1900
0.3 | OUTDOOR POTHEAD
Supply and installation of outdoor
Pat head suitable for 4c*16 sq mm cable
To be erected on BESCOM RCC pole
Rate shall include all necessary
| Accessories to complete the job. | EACH | 1 | 2000
0.4 | FUSE CUTOUT
Supply and installation of outdoor
63a fuse out mounted on wood plank
As per BESCOM requirement rate
Shall include all necessary accessories
| To completed the job. | EACH | 1 | 1600
0.5 | METER BOARD
Supply installation testing
And commissioning of metering
Panel indoor types wall mounting
Make of 16swg crca
Sheet steel powder coated with
Necessary hardware interconnection
Wiring & accessories complete comprising
Incomer:
a) Only sealable space provision
For 1 no 3 phase ct operated
Kwh meter.
cutout.
c) 1 set of 3 nos. seable fuse
Cutout
d) 4 runs of 25*3mm copper bus bar
For 3p+n
6 | MCB &MCB distribution board
supply installing testing and commissioning of following
mc distribution board made out of 16 swg ms sheet enclosure .
Door with neutral and earthling bus bar
double door with neutral and earthing busbar shall include
all necessary acessories to complete the job
LIGHTING DB
1 DB: 1 phase 8 way (excluding incomer)
Incoming: 25 amps 2p 30ma ELCB
Outgoing: 5 nos.10a 10
2 same as above but 7 nos
Outgoing: MCBC
| 3 POWER DB | EACH | 1 | 10500
DB 3phase 4 way incoming
40 amps 4 p 100 ma ELCB
| outgoing 8 nos .20 a 10 ka sp MCB | EACH | 1 | 9500
4 UPS SUB DB
enclosure 1 phase 8 way
| incoming 1 nos .32 a 10 ka DP MCB | EACH | 1 | 9500
outgoing 3 nos 20a 10 ka sp MCB
7 | CIRCUIT WIRING
supply and laying following lighting
power /sub main circuit of 660/100 v
grade copper wires with all conduit
| and wiring accessories complete | EACH | 1 | 3500
1 sub main circuit (power DB)
4 runs of 6.0 sq mm +1 run of
2.5 sa mm pvc insulated copper
wires in 25 mm dia 2 mm thick
| rigid pvc conduit | mtrs | 25 | 320 | 8000
2 sub main circuit (lighting DB):
| 2 run of 6.0 sqmm *1run of | Mtrs | 35
2.5 sqmm pvc insulated copper
Wires in 25 mm dia 2mm thick rigid pvc conduit
3 Lighting circuit: 2 runs of 2.5 sqmm
| + 1run of 1.5 sqmm PVR insulated | mtrs | 508 | 135 | 68580
Copper wires in 19 mm dia 2mm thick
Rigid PVR conduit.
Note :
Light circuit shall be considered
| Only from DB first switch board. | mtrs |  | 135
4 lighting circuit ; 4 runs of 2.5 sq mm of 1 run 1.5 sq mm
pvc insulated copper wires in 19 mm dia 2 mm thick
| rigid pvc conduit | mtrs | 1 | 265
| 5 power and LDB main circuit ;2 runs 4 sq mm 1 run 1.5 sqmm | mtrs | 260 | 145 | 37700
pvc insulated copper wire in 19 mm dia 2 mm thick
rigid pvc conduit
6 power circuit ; 4 run 4 sq mm 1 run 1.5 sq mm pvc
| insulated copper wires in 25 mm dia 2 mm thick | mtrs | 30 | 325 | 9750
pvc conduit
7 power circuit ; 2 run 10 sq mm 1 run 2.5 sq mm pvc
| insulated copper wire 25 mm thick pvc conduit | mtrs | 1 | 355
8 power circuit ; 4 run 10 sq mm 1 run 2.5 sq mm pvc insulated
| coppre wire 40 mm pvc conduit | mtrs | 1 | 685
| 9 power circuit ; 2 run 16 sq mm copper cable | mtrs | 1 | 420
| 10 power circuit 4 run 16 sq mm copper cable | mtrs | 1 | 625
8 | point wiring modular type anchor roma & legrand
point wiring of following points
Using1100Y grade 1.5sqmm multi
Stand, pvc insulated. Copper
Concuctor in necessary size 2mm
Thick rigid pvc condulit system. The
Wiring shall be complete with
All conduit and wiring accessories
Like deep junction box , GI pull
Wires , bulb holdes etc., 1.0 sqmm
Green colour PVC insulated copper
Conductor shall be used for earthing
1 | Single light point controlled by 6A switch primary | each | 52 | 490 | 25480
2 | secondary light point two light | each | 1 | 900
3 | Two lights point controlled by
| 6A switch. Each 750 | each | 1 | 950
4 | Single light point controlled by
| 2 nos. 2 way switch | each | 1 | 950 | 950
5 | fan point controllded by 6 A switch
| And electronic step regulator | each | 6 | 950 | 5700
6 | exhaust fan point controlled 6A switch | each | 3 | 525 | 1575
7 | call ball point , price shall included necessary wiring | each | 1 | 950 | 950
8 | universal 25Amps 6 pin socket | each | 1 | 700
9 | multi pin 6A socket controlld by 6A switch (independent) | each | 20 | 573 | 11460
10 | tv antenna point | each | 3 | 313 | 939
11 | telephone point | each | 1 | 313 | 313
12 | internet point | each | 1 | 573 | 573
13 | epabx point | each | 1 | 1500
14 | 6A socket controlld by 6A switch ( dependent) | each | 20 | 475 | 9500
15 | gate light point | each | 2 | 650 | 1300
16 | night lump point (led) | each | 1 | 750
17 | 15 A power plug point | each | 13 | 682 | 8866
18 | borwel moter point | each | 1 | 525 | 525
19 | sump motor point | each | 1 | 950 | 950
20 | automatick water level control motor point | each | 1 | 682 | 682
21 | ups power point 15A socket controlled 2 noos with plate | each | 1 | 1500 | 1500
22 | video door phone camer point | each | 1 | 682
23 | video door phone point ( manitor ) | each | 1 | 525
24 | music system speaker point | each | 1 | 313
25 | cctv point | each | 1 | 313
26 | 8 way tpn distribution box | each | 1 | 4600 | 4600
27 | 12 way tpn distribution box | each | 1 | 6600
28 | 10 a sp mcb | each | 7 | 475 | 3325
29 | 16 a sp mcb | each | 8 | 475 | 3800
30 | 20 a sp mcb | each | 1 | 575
31 | 25 a sp mcb | each | 1 | 575
32 | 40amps DP mcb | each | 1 | 850 | 850
33 | 63 amps tpn mcb | each | 1 | 2300
34 | 63 amps 300 mili amps ELCB | each | 1 | 3800
35 | 40 amps dp elcb | each | 1 | 2850 | 2850
36 | chandlier hanging light point | each | 3 | 950
37 | wall mounted fan power point | each | 1 | 490
38 | air conditioning power point single phase | each | 2 | 682 | 1364
39 | soler electrical heating power point | each | 1 | 682
40 | pressure pump point | each | 1 | 525 | 525
41 | 3 mm x 25 mm copper strip (tape) supply and laying | rmt | 1 | 682
42 | 10 pair telephone junction box supply and erection | each | 1 | 682
43 | 10 pair telephone armoured jilly filled underground cable | rmt | 1 | 682
44 | air conditioning power point | each | 1 | 682
45 | video door phone circuits with 19 mm conduits | rmt | 1 | 99
46 | main lt power underground power cable 4 coor x 35 sq mm pvc
| insulated steel armoured underground power cable unistar make | rmt | 28 | 451 | 12628
47 | telephone circuits with 19 mm conduits 3 per | rmt | 50 | 69 | 3450
48 | rg 6 tv circuits with 19 mm condutis | rmt | 85 | 90 | 7650
49 | music system speeker circuits with 19 mm conduits | rmt | 1 | 99
50 | automatic water level motar circuits 19 mm conduits | rmt | 75 | 99 | 7425
51 | cat 6 internet circuits with 19 mm conduits | rmt | 1 | 99
52 | 5+1 cctv circuits with 19 mm conduits | rmt | 1 | 99
53 | soler electricall heating power point | each | 1 | 682
54 | aircondition stabiliser power point | each | 1 | 900
9 | EARTHING STRIP
55 | Supply laying . and termination of 8 awg bare copper
| Conductor earth strip .rate shall inculed all necessary | rmt | 1 | 583
56 | 8 fitt length 2'' mm dia C class gi pipe earthing with funnel set
| and necessary accessories. Charocoal and salt | each | 1 | 4200
57 | borwel point | each | 1 | 490 |  | 251310
58 | copper plate earthing 3 mm X 300 mm X 300 mm copper plate
| earthing and charocoal and salt with necessary accessories etc | each | 1 | 6200 | 6200
59 | two why circuits with 19 mm conduits | rmt | 1 | 135
60 | 1.5 sq mm 2 run two why circuite | rmt | 15 | 90 | 1350
60 | 5+1 cctv circuits with 19 mm conduits | rmt | 1 | 99
61 | 120 sq mm main underground power cable 4 coor pvc
| insulated cable | rmt | 1 | 685
light fitting charg exter
251310
tex 28% extera