## ABSTRACT
Sr.No. | DESCRIPTION | AMOUNT IN `.
A | EARTHWORK | #REF!
B | ANTI-TERMITE | #REF!
C | PLAIN CEMENT CONCRETE (P.C.C) | #REF!
D | REINFORCED CEMENT CONCRETE (R.C.C) | #REF!
E | STEEL REINFORCEMENT | #REF!
F | MASONARY WORK | #REF!
G | PLASTERING | #REF!
H | CARPENTARY | #REF!
I | UPVC WINDOWS & VENTILATORS | #REF!
J | FABRICATION | #REF!
K | TILEWORKS | #REF!
L | MISCELLANEOUS | #REF!
M | PAINTING | #REF!
N | ELECTRICAL | #REF!
O | PLUMBING & SANITATION | #REF!
| TOTAL | #REF!
| GST 18% | #REF!
| GRAND TOTAL | #REF!
Round Off
| TOTAL PAYABLE | #REF!
In Words : Rupees

## BUDGETARY QUOTE
28th Jan 2018
with sand instead of M Sand. With Basic rate of 100.00/cft
Sr.No. | DESCRIPTION | QUANTITY | UNIT | RATE IN `. | AMOUNT IN `.
A.0 | GROUP-EARTHWORK
A.1 | General excavation in all soils, including hard soils but excluding soft rock & hard rock, for foundations of walls, steps, footings, rafts, plinth beams, trenches upto a depth of 5''0". | 1760 | Cu.Ft. | 11 | 19360
A.2 | Same as specification in A.1 but above 6'0" depth | 0 | Cu.Ft. | 13 | 0
A.3 | Backfilling of excavation - Filling available excavated earth (excluding rock) in trenches, plinths, sides of foundations, etc…, in layers not exceeding 25Cms. In depth : Consolidating each deposited layer by ramming and watering, the compaction factor of 95% proctor density, lead upto 50m and lift upto 1.5m - including cost and conveyance | 1000 | Cu.Ft. | 4 | 4000
A.4 | Carting away and disposing the excess excavated earth from the site to the place identified by the contractor | 0 | Cu.Ft. | 7 | 0
| Back filling with earth brought from out side(EXTRA WORK TO BE CARRIED OUT TO INCREASE THE HT OF THE PLINTH WITH RESPECT TO ROAD LVL | 5250 | Cu.Ft. | 12 | 63000
A.5 | TOTAL EARTHWORK |  |  |  | 86360
B.0 | GROUP-ANTI TERMITE
B.1 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment : Providing Anti Termite treatment during Footing, With Chlorpyriphos/Lindane E.C. 20% with 1% concentration. | 1200 | Sq.Ft. | 9 | 10800
B.2 | TOTAL ANTI-TERMITE |  |  |  | 10800
C.0 | GROUP-PLAIN CEMENT CONCRETE (P.C.C)
C.1 | Providing & laying P.C.C 1:4:8 for foundation, footings, plinth & below plinth beams using coarse aggregate of 40mm grade & down size, laid in 6" thick layers and compacted. | 117 | Cu.Ft. | 150 | 17550
C.2 | Providing & laying P.C.C 1:4:8 for foundation, footings, plinth & below plinth beams using coarse aggregate of 20mm grade & down size, laid in 3" thick layers and compacted. For flagging course | 396 | Cu.Ft. | 150 | 59400
C.3 | TOTAL P.C.C. |  |  |  | 76950
D.0 | GROUP-REINFORCED CEMENT CONCRETE (R.C.C)
Providing and laying cement concrete confirming to specified grade (IS 456–2000) with 20 mm and down graded aggregate of granite, basalt or trap, as per specification. Rates including vibrators curing, stripping exposed surface to receive plaster wherever necessary etc., complete as per drawing and specifications for the following items. excluding the cost of steel& shuttering(MANUAL CONCRETING)
D.1 | RCC M20 for Footings (manual concreting) | 490 | Cu.Ft. | 160 | 78400
D.2 | RCC M20 for Pedestals(1:2:4)(EXTRA WORK TO BE CARRIED OUT TO INCREASE THE HT OF THE PLINTH WITH RESPECT TO ROAD LVL | 307 | Cu.Ft. | 186 | 57102
D.3 | RCC M20 for Plinth Beamss(1:2:4) | 230 | Cu.Ft. | 192 | 44160
D.4 | RCC M20 for Retaining Walls(1:2:4) | 0 | Cu.Ft. | 196 | 0
D.5 | RCC M25 for Columns(1:1.5:3) | 346 | Cu.Ft. | 231 | 79926
D.6 | RCC M20 for Roof Beams 1;2;4 | 505 | Cu.Ft. | 192 | 96960
D.7 | RCC M20 for Roof Slabs 1;2;4 | 1289 | Cu.Ft. | 192 | 247488
D.8 | RCC M20 for Lintels 1;2;4 | 93 | Cu.Ft. | 221 | 20553
D.9 | RCC M20 for Chajjas & Lofts 2" Thk. 1;2;4 | 210 | Sq.Ft. | 97 | 20370
D.10 | RCC M20 for 5" Thk. Waist slab staircase 1;2;4 | 216 | Cu.Ft. | 231 | 49896
D.11 | TOTAL R.C.C. |  |  |  | 694855
E.0 | GROUP-STEEL REINFORCEMENT
E.1 | Providing reinforcement high yield strength ribbed cold twisted for steel of various diameters grade Fe-500 from JSW Make for R.C.C Work.(Steel prices will be charged at actual prevailing market prices at the time of purchase & bills shall be produced accordingly.) - Basic cost of steel @ `.45000.00 per ton(shall be billed as per actual consumption) | 8.3 | MT | 62000 | 514600
E.2 | TOTAL STEEL REINFORCEMENT |  |  |  | 514600
F.0 | GROUP-MASONARY WORKS
F.1 | Providing and constructing Random Rubble masonary with hard stone in foundation and plinth in cm 1:6, including labour charges for lead and lift | 0 | Cu.Ft. | 110 | 0
F.2 | Providing and constructing at all levels 9"thick walls with Burnt bricks of approved quality and make in CM 1:6 including all scaffolding to reach heights Basic cost of Bricks 7.00 | 2000 | CFT | 205 | 410000
F.3 | Providing and constructing at all levels 6" thick walls with cement concrete solid blocks of approved quality and make confirming to ISI code No.2185 with a crushing strength of not less than 40Kgs/Sqcms in CM 1:6 including all scaffolding to reach heights | 0 | Sq.Ft. | 0 | 0
F.4 | Providing and constructing at all levels 4" thick walls with Burnt bricks CM 1:4 including all scaffolding to reach heights | 385 | Sq.Ft. | 98 | 37730
F.5 | TOTAL MASONARY WORKS |  |  |  | 447730
G.0 | GROUP-PLASTERING
G.1 | Plastering inside faces of walls, ceilings, beams, columns, etc…, with CM 1:6, 12mm thick one coat floated, hard and trowled and brushed smooth, lime rendered including scaffolding, curing cost conveyance and all labour charges etc. complete | 7489 | Sq.Ft. | 45 | 337005
G.2 | Plastering outside faces of walls with CM 1:6, 15mm thick one coat floated, hard and trowled and sponge finished including scaffolding, curing cost, conveyance and all labour charges etc. complete. | 3646 | Sq.Ft. | 48 | 175008
G.3 | Roof top water proofing with clay tiles. adding waterproof compound as per manufacturers specification including cost conveyance of all materials, labour charges, scaffolding, curing etc. complete | 900 | Sq.Ft. | 100 | 90000
G.4 | TOTAL PLASTERING |  |  |  | 602013
H.0 | GROUP-CARPENTARY WORKS
H.1 | Providing, constructing & fixing on site Doors made out of Ghana Teak Wood Frame of size 2.5"x5", with all necessary cutting, plaining & polishing, and the shutters shall be 30mm Thk. READY MADE TW veeneer flush DOORS shutter, complete with 4 No's. SS Hinges, 2 No's 8" SS Handles, 2 No's Tower bolts and 1 No's. round lock from Europa. for main dooor. | 0 | Sq.Ft. | 0 | 0
| MAIN DOOR and pooja door. | 49 | Sq.Ft. | 2100 | 102900
| Providing, constructing & fixing on Doors made out of sal wood of size 2.5"x5", with all necessary cutting, plaining & polishing, and the shutters shall be 30mm Thk. READY MADE flush DOORS shutter, complete with 4 No's. SS Hinges, 2 No's 8" SS Handles, 2 No's Tower bolts and 1 No's. mortise etc., complete. | 175 | Sq.Ft. | 1100 | 192500
| Providing, constructing & fixing on windows made out of sal wood of size 2.5"x5", shutters with honne wood 3"x1.5" with all necessary cutting, plaining & polishing, with necessary 4mm thick glass, ss hookes,for stays and lok, ss hinges etc., Handles, etc., complete. | 184 | Sq.Ft. | 1000 | 184000
H.2 | Shuttering works for all RCC works | 6900 | Sq.Ft. | 35 | 241500
H.3 | TOTAL CARPENTARY WORKS |  |  |  | 720900
I.0 | GROUP-UPVC WINDOWS & VENTILATORS
I.1 | PROVIDING AND FIXING TW WINDOWS including tw mullion. | 0 | Sq.Ft. | 0 | 0
I.2 | TOTAL UPVC WINDOWS |  |  |  | 0
J.0 | GROUP-FABRICATION WORKS
J.1 | Providing & fixing on site, grill works for windows & ventilators in 10mm Dia. M.S.Round rods spaced @ 4"Thk. C/c, with 1.25"Thk. M.S.Flats used as verticals for intermediate supports(final rate against drawing) | 0 | Sq.Ft | 180 | 0
J.2 | Providing & fixing on site Non Magnetic Stainless Steel railing of 2" Dia and 0.5" Dia of 304 Grade with 1.5" Thk. Flat as vertical support and 10mm Thk. Toughened glass from Saint Gobain(final rate against detail drawing) | 0 | Sq.Ft | 700 | 0
J.3 | Providing & fixing on site Non Magnetic Stainless Steel railing of 2" Dia of 304 Grade for staircase rails(final rate against detail drawing) | 0 | R.Ft. | 1300 | 0
J.4 | Providing & fixing on site M.S. Staircase for Lift machine room with a mid-landing of size 4'0"x4'0" and steps of size 4'0"x1'0", both mid landing and steps made of 1.5" Thk. M.S.Flats and L-Angles of size 1.5"x1.5", with railing made of 2" Thk. Dia Top circular rod and 0.5" Dia rods placed at an distance of 4"C/c, with 1.5" Thk. Flat used as vertical support at intermediate levels : Total climbing height of staircase = +4'0" | 0 | No's | 0 | 0
J.5 | Providing & fixing on site M.S Staircase for climbing from terrace floor to water tank slab level, made of 3"x1" Tubular section : Total climbing height of staircase = +10'6" (lader) | 0 | No's | 10000 | 0
J.6 | Providing & fixing on site M.S.Doors for security, made of 2"x2" L-Angles for frames, and shutters made of 2"x2" Tubular sections, finished with M.S.Plates & M.S Perforated sheets in the ratios of 50% each, with all necessary locks, aldrops and handles | 0 | Sq.Ft | 385 | 0
J.7 | Providing & fixing on site M.S.Rolling shutter with manual hand roller with all neessary handles and locks | 0 | Sq.Ft | 385 | 0
J.8 | Providing & fixing on site M.S. Gate for compound wall, fixed on 6"x6"Tubular sections as Gate Post and made of 2"x2" Tubular sections, finished with M.S.Plates & M.S.Perforated sheets in the ratios of 50% each, with all necessary locks, handles. | 50 | Sq.Ft | 600 | 30000
| Providing and fixing MS railing for satirs./balcony. | 320 | Sq.Ft | 300 | 96000
| MS DOORS | 21 | Sq.Ft | 400 | 8400
| FRAME WORK FOR SHERA BOARD | 0 | Sq.Ft | 150 | 0
| LADDER TO OHT | 15 | Sq.Ft | 200 | 3000
J.9 | TOTAL FABRICATION WORKS |  |  |  | 137400
K.0 | GROUP-TILEWORKS
K.1 | Providing & laying on site, Italian marble as per selection with thickness varying from 15mm to 20mm, laid on 20mm Thk. Cement mortar 1:4 (1 White cement : 4 coarse sand), all the Italian marble shall be cut using 1mm Thk. Silicon blade, completed and finished with all necessary grinding, mirror finished polishing and chemical treatment (Basic cost of Italian Marble @ `.450.00 per Sq.Ft.) | 0 | Sq.Ft. | 0 | 0
K.2 | Same as mentioned above in Sr. No. J.1 but for skirting, with half rounding or edge chamfer | 0 | R.Ft. | 0 | 0
K.3 | Providing and laying Vitrified floor tiles 600x600 mm (thickness to be specified by the manufacturer) of 1st quality confirming to IS : 13755 of NITCO, ORIENT, SOMANY, KAJARIA, or equivalent make in colours such as White, Ivory, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigment etc., complete.(Basic cost of tile@ `.50.00per Sq.Ft.) | 470 | Sq.Ft. | 115 | 54050
K.4 | Same as mentioned above in Sr. No. J.3 but for skirting | 170 | R.Ft. | 70 | 11900
K.5 | Providing & laying on site, Indian Granite as per selection for staircase with thickness varying from 15mm to 20mm, laid on 20mm Thk. Cement mortar 1:4 (1 cement : 4 coarse sand), completed and finished with all necessary grinding, and edge bull nosing/ chamfering (Basic cost of Granite @ `.100.00 per Sq.Ft.)(230.00-115(rate for vitrified tiles flooring)=115X1540=177100.00(EXTRA) | 1540 | Sq.Ft. | 230 | 354200
K.6 | Same as mentioned above in Sr. No. J.5 but for skirting(rate for vitrified tilesSKIRTING)=70X145=75.00x525=39375.00(EXTRA) | 525 | R.Ft. | 145 | 76125
K.7 | Providing and laying Anti skid Ceramic floor tiles 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 13755 of NITCO, ORIENT, SOMANY, KAJARIA, or equivalent make in colours such as White, Ivory, Grey, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigment etc., complete. (Basic cost of tile@ `.42.00 per Sq.Ft.)127-42 | 140 | Sq.Ft. | 115 | 16100
K.8 | Providing and fixing Ist quality ceramic glazed tiles - laid upto a height og 7'0" in Kitchen, pantry and toilets- confirming to IS : 13753 of minimum thickness 5 mm of approved make like NITCO, ORIENT, SOMANY, KAJARIA, or equivalent make in all colours, shades any size as approved by Engineer-in-Charge in dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (Basic cost of tile@ `.50.00 per Sq.Ft | 760 | Sq.Ft. | 125 | 95000
K.9 | Providing & fixing on site, Black granite for Pantry & kitchen counters and urnials partitions fixed as per details with all necessary bull nosing/ chamfering (Basic cost of tile@ `.200.00 per Sq.Ft.) | 87 | Sq.Ft. | 500 | 43500
K.10 | Providing and laying of 19mm thk Ultra tile Flooring for parking area -(Basic rate - Rs.45/-) with Cement mortar 1:4 and filling the joints with tile color grouting and complete.(PAVER BLOCKS) | 250 | Sq.Ft. | 110 | 27500
K.11 | Providing & laying on site 20mm Thk cement mortar in the ratio 1:4 (1 Cement:4 Coarse sand) finished with cement slurry , which will form as a bed for laying vinyl flooring or wooden flooring. | 0 | Sq.Ft. | 0 | 0
K.12 | TOTAL TILEWORKS |  |  |  | 678375
M.0 | GROUP-PAINTING
M.1 | INTERNAL PAINTING - Providing and Applying one coat of primer, two coats of putty and two Coats of acrylic emulsion from Asian Paints, cost to include scaffolding to reach heights. | 7489 | Sq.Ft. | 23 | 172247
M.2 | EXTERNAL PAINTING - Providing and Applying one of exterior primer and two coats of Apex Ultima Weather Coat from Asian paints, cost to include scaffolding to reach heights. | 3646 | Sq.Ft. | 25 | 91150
M.3 | ENAMEL PAINT - Providing and applying one coat of Red/ Yellow oxide, and two coats of enamel paint for all M.S.Fabrication works | 812 | Sq.Ft. | 28 | 22736
| Enamel painting for doors | 420 | Sq.Ft. | 28 | 11760
| Enamel painting of ms doors | 42 | Sq.Ft. | 28 | 1176
| Enamel painting for WINDOWS | 294.4 | Sq.Ft. | 28 | 8243.2
| Polishing of doors | 117.6 | Sq.Ft. | 80 | 9408
| POLISHING OFWINDOWS. | 0 | Sq.Ft. | 80 | 0
| MELAMINE POLISHING OF PNELLING | 0 | SFT | 0 | 0
M.4 | TOTAL PAINTING |  |  |  | 316720.2
N.0 | GROUP-ELECTRICAL WORKS
N.1 | Providing & laying on site, electrical works in 3/4" & 1" Dia. PVC conduits from National VIP, Wires & cables from Finolex, Switches & Sockets from Anchor Roma | 2020 | Sq.Ft. | 110 | 222200
N.2 | Temporary electrical connection from pole to watChman's shed(distance not provided)tentative rate. | 1 | No's | 0 | 10000
N.3 | TOTAL ELECTRICAL WORKS |  |  |  | 232200
O.0 | GROUP-PLUMBING & SANITATION WORKS
O.1 | Providing, laying & fixing on site, plumbing works in 3/4",1" & 1.5"CPVC Pipes from Ashirwad or Supreme, the works shall include, delivery line from Borewell to overhead tank, Delivery from road to Sump Tank and Delivery from Sump tank to Overhead tank, Connections to all toilets, kitchens and pantry on each floor. Costing shall not include road cutting charges and connection from road to the site, any plumbing fittings like taps, showers, wash basins, etc.., | 3 | No's | 24000 | 72000
O.2 | Providing, laying & fixing on site, sanitation works in 2", 4.5" & 6" PVC Pipes from Supreme, the works shall include all sanitary and waste water connection for toilets, kitchens and pantry on all floors, constructing and making of inspection chambers wherever necessary. Costing shall not include road cutting charges and connection from site to the main sewer line, and sanitary fittings like Urinal bowls, Water Closets, etc..., | 4 | No's | 25000 | 100000
O.3 | Providing, laying & fixing on site Rain water downtake pipes from terrace upto Ground floor and from ground floor to the Rain water harvesting pit, using 4.5"Dia PVC pipes from supreme. Costing shall not include any rain water filter, the measurement mentioned is the areas exposed directly to rain | 100 | rft | 280 | 28000
O4 | Sanitary fitting and fixtures. FOR EACH TOILET BUDGETTED TO | 3 | NOS | 25000 | 75000
O.4 | TOTAL PLUMBING & SANITATION WORKS |  |  |  | 275000
| TOTAL |  |  |  | 4795079.2
In Word : RUPEES TWI CRORE FOURTEEN LAKSH FOURTY SIX THOUSAND EIGHT HUNDRED THREE ONLY.
| RATE /SQUARE=4795075.00/2080 SFT. |  | 2305 | per sqft
DEDUCT EXTRA ITEMS.
| 1.Earth filling in plinth. | 63000
| 2. pedastal concrete qty due to increse in ht. | 40734
| 3.shutterin for pedastals | 16562
| 3. steel reinforcement in pedastal. | 12000
| 4. Granite flooring and skirting | 216475
| 5. MS door. | 8400
| 6. Main MS gate. | 3000
| 7.Temporary electrical connection. | 10000
370171
| 370171.00/2080.00sft |  | -178 | per sft
| EFFECTIVE RATE/SQFT IS |  | 2127 | persft
basic rate of cement 330.00/bag
basic rate of sand 100.00/cft
any extra works executed will be billed extra.
Taxes as applicable.
Water and electricity shall be provided by client.
EXTERNAL WORKS.
L.0 | GROUP-MISCELLANEOUS
L.1 | Providing & constructing on site Undergound Sump Tank for storage of water in Basement floor, in 9" Thk. RCC Retaining wall, 9" Thk. RCC Base Slab, and 6" Thk. RCC Covering slab, with 2'0"x2'0" M.S.Chamber cover, PVC Sump stepping ladder as required, and making a provision for fixing of submerssible water motor, provision for a additional 2.5" Dia. PVC Inlet pipe from the main road to the sump tank and also a 2.5"Dia. PVC Outlet pipe from sump tank to the Ground floor for de-watering of tank at the time of cleaning, Internal side of the tank will be finished with water proof plastering - Internal size of sump tank = 8'0"x8'0"x6'0" | 10000 | Ltr's | 13 | 130000
L.2 | Providing & fixing on site readymade Sintex Overhead Water Tank - | 2000 | Ltr's | 12 | 24000
L.3 | Providing & fixing on site readymade Granite sink of size 18"x18" in Ground flo0r. | 1 | No's | 8000 | 8000
L.4 | Providing & fixing on site Single bowl Anti-Scratch Stainless Steel sink from Futura, for Pantry & Kitchen - Basic cost of sink @ `.7,500.00 per No's. | 0 | No's | 0 | 0
L.7 | Temporary labour shed made of 6" Thk. Solid cement block masonary and covered with Corrugated A.C.Sheet with Toilet - Size 8'0"x20'0" | 1 | No's | 25000 | 25000
| Constructiig compound wall with 4.5"th block 4'ft height with plastering painting etc complete.(foundation not included. | 110 | rft | 1250 | 137500
324500